## Slide 1: Lustre Networking with OFED Andreas Dilger Principal System Software Engineer adilger@clusterfs.com Cluster File Systems, Inc.

## Slide 2: Topics
Lustre Deployment Overview
Lustre Network Implementation
Summary of what CFS has accomplished with OFED (scalability, performance)
Problems we've run into lately with OFED
Future plans for OFED and LNET
Lustre Now and Future

## Slide 3: Lustre Deployment Overview
OSS 7
Pool of
metadata servers
Lustre Clients
(10’s - 10,000’s)
Lustre Metadata
Servers (MDS)
= failover
MDS 1
(active)
MDS 2
(standby)
OSS 1
OSS 2
OSS 3
OSS 4
OSS 5
OSS 6
Lustre Object Storage Servers(OSS) (100’s)
Commodity Storage Servers
Enterprise-Class Storage Arrays & SAN Fabrics
Simultaneous support of multiple network types
Router
GigE
Infiniband
etc
Elan
Myrinet
InfiniBand
etc
Shared storage enables failover OSS
Router

## Slide 4: Lustre Network Implementation
Network features
Scalability - network 10,000’s nodes
Support for multiple networks
  TCP
  IB - many flavors
  Elan3,4
  Myricom GM, MX
  Cray Seastar & RA
Routing between networks

## Slide 5: Modular Network Implementation
Vendor Network Device Libraries
Lustre Networking (LNET)
Lustre Network Drivers (LNDs)
Lustre RPC
Lustre Request Processing
Multiple network types
Network-independent
Asynchronous post – completion event Message passing / RDMA
Routing
Request - queued
Optional bulk data - RDMA
Reply – RDMA
Teardown
Zero-copy marshalling libraries
Service framework and request dispatch
Connection and address naming
Generic recovery infrastructure
Portable Lustre component
Not portable
Not supplied by CFS
Key:

## Slide 6: Multiple interfaces and LNET
Server
10.0.0.1
10.0.0.2
10.0.0.4
10.0.0.6
10.0.0.8
10.0.0.3
10.0.0.5
10.0.0.7
Multiple Interfaces
vib1 Network Rail
vib0 Network Rail
Clients
Clients
vib1 network
vib0 network
Server
10.0.0.1
10.0.0.2
10.0.0.4
10.0.0.6
10.0.0.8
10.0.0.3
10.0.0.5
10.0.0.7
Multiple Interfaces
vib1 Network Rail
vib0 Network Rail
Clients
Clients
vib1 network
vib0 network
Switch
Switch
Switch
Support through:
multiple Lustre networks
on one or two physical networks
static load balance (now)
dynamic load balance and failover (future)

## Slide 7: OFED Accomplishments by CFS
Customers Testing OFED 1.1 with Lustre:
  TACC Lonestar
  Dresden
  MHPCC
  LLNL Peloton: >500 clients on 2 prod clusters
  Sandia
  NCSA Lincoln: 520 clients (OFED 1.0)
OFED 1.1 supported in Lustre 1.4.8 and beyond

## Slide 8: OFED Accomplishments by CFS
OFED 1.1 Network Performance Attained in Tests
Test Systems with PCI-X bus architecture:
  @920 MB/s point to point
Test Systems with PCI-express bus architecture:
  @1200-1300 MB/s
  (testing done at LLNL)
Notes: Last perf measurements I took were on a motley collection of nodes in an LLNL test cluster. The nodes were all different, including different PCI busses (e.g. PCI-X PCIe). But stable PCI-X nodes delivered ~920MBytes/sec point-to-point and the PCIe nodes got1200-1300MBytes/sec. I'm afraid I don't have the exact hardware specs - I was really just trying to nail some "good" nodes when Itook the measurements. Cheers, Eric

## Slide 9: Problems (OFED 1.1) and Wishlist
Mutiple HCAs cause ARP mixup with IPoIB (#12349)
Data corruption with memfree HCA and FMR (#11984)
Duplicate completion events (#7246)
FMR performance improvement
  would really like to use this

## Slide 10: Future Plans for LNET & OFED
Scale to 1000’s of IB clients as systems available
Currently awaiting final changes to OFED 1.2 API before final LNET integration and test
Notes: 1a. Short term schedule of deliverables1-2 weeks of integration/test for OFED 1.2 support - then the normal land->release cycle.

## Slide 11
Questions
~
Thank You
OFED/IB-specific questions to:
Eric Barton <eeb@clusterfs.com>
<lustre-discuss@clusterfs.com>

## Slide 12: What can you do with Lustre Today?
Quota, Failover, POSIX, POSIX ACL, secure ports
Features
Training, Level 1,2 & Internals. Certification for Level 1
Varia
Number of files: 2B
File System Size: 32PB or more, Max File size: 1.2PB
Capacity
Native support for many different networks, with routing
Networks
Metadata Servers: 1 + failover
OSS servers: Tested up to 450, OST’s up to 4000
# servers
Single Client or Server: 2 GB/s +
BlueGene/L – first week: 74M files, 175TB written
Aggregate IO (One FS): ~130GB/s (PNNL)
Pure MD Operations: ~15,000 ops/second
Performance
Software reliability on par with hardware reliability
Increased failover resiliency
Stability
Clients: 25,000 – Red Storm
Processes: 130,000 – BlueGene/L
Can have Lustre root file systems
# clients

## Slide 13: Done – in or on its way to release
Large ext3 partitions (8TB) support (1.4.7)
Very powerful new ext4 disk allocator (1.6.1)
Dramatic Linux software RAID5 performance improvements
Linux
pCIFS client – in beta today
Other
Clients require no Linux kernel patches (1.6.0)
Dramatically simpler configuration (1.6.0)
Online server addition (1.6.0)
Space management (1.6.0)
Metadata performance improvements (1.4.7 & 1.6.0)
Recovery improvements (1.6.0)
Snapshots & backup solutions (1.6.0)
CISCO, OpenFabrics IB (up to 1.5GB/sec!) (1.4.7)
Much improved statistics for analysis (1.6.0)
Snapshot file systems (1.6.0)
Backup tools (1.6.1)
Lustre

## Slide 14: Intergalactic Strategy
Lustre v1.4
Lustre v1.6
Q1 2007
Lustre v2.0
Q3 2008
Lustre v3.0
2009
Enterprise Data Management
HPC Scalability
Online Server Addition
Simple Configuration
Patchless Client
Run with Linux RAID
5-10X MD perf
Pools
Kerberos
Lustre RAID
Windows pCIFS
Clustered MDS
1 PFlop Systems
1 Trillion files
1M file creates / sec
30 GB/s mixed files
1 TB/s
Snapshots
Optimize Backups
HSM
Network RAID
10 TB/sec
WB caches
Small files
Proxy Servers
Disconnected
Operation
Lustre v1.8
Q3 2007
Lustre v1.10
Q1 2008
Notes: Additional networks supported
  InfiniBand
  Scali
Other networks in progress:
  SAN (alpha)
  I/B
  NUMA interconnects (@ GB/sec)
  Bus interconnects
  Offload cards
  SCTP