## Slide 1: OFA-IWG - March 2010
OFA Interoperability Working Group Update
Authors: Mikkel Hagen, Rupert Dance
Date: 3/15/2010

## Slide 2: OFA-IWG Charter and Mission
OpenFabrics Alliance Interoperability Working Group (OFA-IWG)
  Responsible for defining and maintaining the OFA Logo Program.
Define and develop a comprehensive suite of tests for evaluating product interoperability within the OpenFabrics environment.
Create new tests when features are added to OFED
Validate OFED Release Candidates before the GA release
Host interoperability events in conjunction with the University of New Hampshire Interoperability Lab (UNH-IOL).
  Validate the interoperability of products using the OpenFabrics software stack.
  The OFA Interoperability Logo is granted to those products which pass all of the mandatory tests.
3/15/2010
www.openfabrics.org
<number>

## Slide 3: Event Overview
OFA IWG Interop Events - upcoming
  May 3rd  May 7th 2010 – Interop Debug Event - OFED 1.5.2
  June 2010 –Validation Event - OFED 1.5.2 GA
This will be the 7th OFA-IWG Interop event
Anticipated participation
  9 vendors and 32 devices
Compliance Testing
  April 26th  30th 2010 – IBTA Plugfest
Hosted by University of NH Interoperability Lab (UNH-IOL)
3/15/2010
www.openfabrics.org
<number>

## Slide 4: Hosted by UNH-IOL
3/15/2010
www.openfabrics.org
<number>

## Slide 5: OFA Interoperability Logo Program
Enable customers and users to choose products and versions that are interoperable
Enable vendors to demonstrate interoperability by using the Logo on their products and marketing.
Details available at:
  http://iol.unh.edu/ofilp
Current List of Logo Grants
  http://iol.unh.edu/ofilglist
3/15/2010
www.openfabrics.org
<number>

## Slide 6: Vendor Participation - IB
InfiniBand Vendors
  Data Direct Networks, Flextronics, LSI Logic, Mellanox, Obsidian Research, QLogic, Voltaire
InfiniBand Devices
  12 HCAs
  6 Switches
  2 InfiniBand Range Extenders
  3 SRP Targets
  1 FC/Ethernet Gateway
  4 SMs
    OFED OpenSM
    Mellanox Switch Based SM
    QLogic Switch Based SM
    Voltaire Switch Based SM
3/15/2010
www.openfabrics.org
<number>

## Slide 7: Vendor Participation - iWARP
iWARP Vendors
  Chelsio and Intel
iWARP Devices - using OFED 1.5 GA
  Chelsio
    5 RNICs used for MPI testing
  Intel
    5 RNICs used for MPI testing
  Fujitsu
    10 GbE Switches
3/15/2010
www.openfabrics.org
<number>

## Slide 8: Test Setup & Environment
Host Systems
  17 servers donated by Intel
  6 servers donated by HP
  6 servers donated by AMD
Cables Donated to OFA Cluster
  Amphenol, C&M, Cinch, FCI, Intel, Mellanox, Meritec, Molex, Panduit, Tyco, Volex, W.L. Gore and Zarlink
RHEL 5.4 (CentOS 5.4)
  64 bit x86
OFED 1.5.2
3/15/2010
www.openfabrics.org
<number>

## Slide 9: Test Coverage
InfiniBand
  Link Init & Fabric Init
  IPoIB CM and UD
  iSER & SRP
  Open MPI & MVAPICH 1 & 2
  RDS & NFS/RDMA
  SDP
  RDMA Interop
  uDAPL
iWARP
  Link Init & Fabric Init
  iWARP Connectivity
  Open MPI & MVAPICH 2
  RDMA Interop
  RDS & NFS/RDMA
  uDAPL
3/15/2010
www.openfabrics.org
<number>

## Slide 10: IB Tests – May 2010
3/15/2010
www.openfabrics.org
<number>
InfiniBand Transport - Test Status for May 2010 Interop Event |  | 
Test Procedures | Linux | Windows
IB Link Initialize | Mandatory | Mandatory
IB Fabric Initialization | Mandatory | Mandatory
IB IPoIB Connected Mode | Mandatory | N/A
IB IPoIB Datagram Mode | Mandatory | Beta
IB SM Failover/Handover - OpenSM | Mandatory | Beta
IB SM Failover/Handover - Vendor SM | Optional | Optional
IB SRP | Mandatory | Beta
IB Ethernet Gateway | Beta | N/A
IB Fibre Channel Gateway | Beta | N/A
Transport Independent Tests | Linux | Windows
TI iSER | Mandatory | N/A
TI NFS over RDMA | Beta | N/A
TI RDS | Mandatory | N/A
TI SDP | Mandatory | N/A
TI uDAPL | Mandatory | Beta
TI RDMA Interop | Mandatory | Beta
TI RDMA Stress Test | Mandatory | Beta
TI MPI - HP | Beta | N/A
TI MPI - Intel | Beta | Beta
TI MPI - Open MPI - Homogenous | Mandatory | N/A
TI MPI - Open MPI - Heterogeneous | Beta | N/A
TI MPI - OSU - MVAPICH 1 & 2 - Homogeneous | Mandatory | N/A
TI MPI - OSU - MVAPICH 1 & 2 - Heterogeneous | Beta | N/A

## Slide 11: iWARP Tests – May 2010
3/15/2010
www.openfabrics.org
<number>
Ethernet Transport - Test Status for May 2010 Interop Event | 
Test Procedures | Linux
Ethernet Link Initialize | Mandatory
Ethernet Fabric Initialize | Mandatory
Ethernet Fabric Failover | Beta
Ethernet Fabric Reconvergence | Beta
iWARP Connectivity | Mandatory
Transport Independent Tests | Linux
TI iSER | Beta
TI NFS over RDMA | Beta
TI RDS | Beta
TI SDP | Beta
TI uDAPL | Mandatory
TI RDMA Interop | Beta
TI RDMA Stress Test | Beta
TI MPI - HP | Beta
TI MPI - Intel | Beta
TI MPI - Open MPI - Homogenous | Mandatory
TI MPI - Open MPI - Heterogeneous | Beta
TI MPI - OSU - MVAPICH 1 & 2 - Homogeneous | Mandatory
TI MPI - OSU - MVAPICH 1 & 2 - Heterogeneous | Beta

## Slide 12: IB Cluster Topology
3/15/2010
www.openfabrics.org
<number>

## Slide 13: Problems Noted – October 2009
Link Init Issue
  Issues were discovered when doing heterogeneous testing
  Issues were discovered between legacy DDR devices and new QDR products
  Devices not supporting 1X links
Interop Tests
  Test must be limited to 4 outstanding instructions or legacy cards fail.
IPoIB
  Packet loss when running IPoIB in datagram mode
MPI
  MPI fails when running in heterogeneous mode
  Use of updated and more scalable job launch scheme - 'mpirun_rsh'
OFED Utilities
  ibdiagnet –r segmentation fault
Signal Integrity Issues
  Link degradation during MPI testing and high traffic count
3/15/2010
www.openfabrics.org
<number>

## Slide 14: 2010 Program Highlights
Automated Test Suites
  All OFILP test scripts can now be run over VPN
Cluster Availability
  VPN access is granted to all OFILG Members.
  Week long testing slots are available
Complete heterogeneous cluster environment
  Allows vendors to test against competitors products
Sizeable MPI ring available for iWARP and IB
3/15/2010
www.openfabrics.org
<number>

## Slide 15: UNH-IOL OFA – Moving Forward
Logo Program needs more marketing & promotion
Planned Interop Events for 2010
  Two Interop Debug events based on RC
  Two Logo Validation events based on GA
Development interest for 2010/2011
  OFED for Windows
  RoCEE
  NFS over RDMA
  IPv6
  Depends on vendor demand
UNH-IOL
  Extended Sockets Protocol (EXS) contributed to OFED
  Web interface to tests scripts
3/15/2010
www.openfabrics.org
<number>

## Slide 16: Invitation to join OFILG
Distros
  Novell and Red Hat
Ethernet Switch Vendors
  Arista Networks, Cisco, Force 10, Fujitsu, Fulcrum, HP
IB Vendors
  Gennum, HP, IBM, SGI, Oracle and Xsigo
iWARP Vendors
  IBM, Neterion, ServerEngines
System Vendors
  Appro, Dell, HP, Sun/Oracle, SuperMicro, Verari
3/15/2010
www.openfabrics.org
<number>

## Slide 17: Open Fabrics Interoperability Logo Group
3/15/2010
www.openfabrics.org
<number>